## Sheet 1 Surgical Microscop
ophthalmic Surgical Microscop (Teaching)

## Sheet 2 Ophthalmoscop
Ophthalmoscop for OPD

## Sheet 3 Tonometer
Eye Care Procar tonometer for IOP

## Sheet 4 Cardiac Monitor
Cardiac Monitor Specification
1-Cardiac Monitor for ICU and OT with multiple options:
Cardiac monitor or multipara monitor, essential measurement parameters such as SpO2, TEMP, ECG, PR/HR, RESP and NIBP. These provides high cost-performance ratio to give information right at the patients side. These monitors are useful in meeting the treatment needs of medical specialists. Some of the multipara monitors we offer as discussed as below:To meet the treatment needs of medical specialists. Suitable for adults, neonatal and pediatric care, these monitors have adjustable alarms. Apart from this, the monitors have well networked data management option and good storage capacity. Some features of the products are as follows :8.4 = color TFT display Suitable for adult, pediatric and neonatal patient Basic parameters(ECG, Sp02, NIBP) in a durable case for bedside monitoring and transport monitoring Available and visual alarms with adjustable alarm ranges Networkable data management and storage capacity.

## Sheet 5 Dry Sterlizer
Dray sterlizer 25KG for dental ward Specification
1: Chamber volume 20I
2: Chamber size: 250*400mm
3: Overall size : 680*430*445mm
4: Power : 220v, 50hz
5: Wattager: 1800w
6: Over weight: 25kg

## Sheet 6 Operation table
OT Table for Eye operation
Product Specification
Size | 1900 mm X 520 mm
Material | 304 SS and Medical Grade Plastic
Maximum Height(mm) | 1000 mm
Finish | Stainless Steel
Power | 220V
Features:
Electric Operation Table
The base is eccentric .
Stainless fitting
Three sectional Radio-translucent top.
Base and cover are made of attractive , easy to clean stainless steel
Sophisticated mechanics provide smooth, stepless articulation of the table top for precise patient positioning.
Leg & Head section are interchangeable.
T-Motion Linear actuator

## Sheet 7 OT Light
Product Specification
Usage/Application | Operation Theater
Positioning | Ceiling Mounted
Model Name/Number | SIX SIGMA CEILING LED OT LIGHT
Light Source Type | LED
Brightness | 140000 lux
Number Of Domes | One
Movement | Angular
Color | WHITE
Lighting Color | YELLOW AND WHITE
Color Specification | Multi Colour
Power | 60 WATT
Illuminating Adjustment | FIX
Life-Span Of Leds | 50000 Hrs.
Height Adjustment | yes
Field Diameter | 470 MM
Remote And Digital Controller | DIGITAL CONTROLLER
Size Of Light Field | 10-15 CM
Spot Size | 450-500 MM

## Sheet 8 Slit Lamp
Slit Lamp
Product Specification
Illumination Bulb | German Halogen Tungsten Lamp
Fixation | Red LED
Filter | Heat Absorption; Grey; Red free; Cobalt Blue
Light Spot Diameter | 0.2mm,1mm,2mm,5mm,10mm,14mm
Applanation Tonometer Interface | Yes
Laser Interface | Optional
Input Power | 60VA
Slit Angle | 0degree- 180degreeAdjustable
Other Details:
Professional Digital Color Image Capturing System;
Illness Case Storage Function
Background illumination System (Optional)
Professional Image Analyzing and Processing Function: Analyze, Measure and Calculate the Focal Area so that to Study Ocular Surface, Cornea and Lens, Thus Provide Contrastive Analysis for the Clinical Effect.
Professional Color Image Ink Jet Printer(Optional)(We recommend Canon Brand)
Professional Designing High Definition Slit Lamp Microscope
Special Digital Images C-Mount
External Digital Camera
10 Megapixels Resolution

## Sheet 9 Suction Machine
1 | Electric suction Machine Specifications:
Power valtage: AC 220v±22v 50Hz±1Hz
Max negative pressure 0.09Mpa
Noise: 65 db (A)
Power: 180VA
Pumping rate: 20L/min
Reservoir capacity: 2500ml/pc,2pieces

## Annex 1 Air Bobair Cannula
Air bubble Cannula (26, 27 size)

## Annex 2 Simcoe Cannula
disposable simcoe cannula 20, 21 size

## Annex 3 DCR Set
D.C.R. Set Iteam List
S.NO | Article | Quantity
1 | Castroviejo Suture Tying & Corneal Forceps 0.5 mm | 1
2 | Bonaccolto Utility Forceps | 1
3 | Bishop - Harmon Iris Forceps Delicate 1x2 Teeth | 1
4 | Speedway Eye Dressing Forceps Straight | 1
5 | Westcott Tenotomy Scissors Pointed | 1
6 | Steven Tenotomy Scissors Straight | 1
7 | Speedway Iris Scissors Size: 10.5 cms Straight | 1
8 | Halstead Haemostatic Mosquito Forceps 12.0 cms Curved | 1
9 | Castroviejo Needle Holder Straight Micro without Catch | 1
10 | Barraquer Needle Holder Long Body Curved | 1
11 | Baby-Jones Towel Clamp Cross Action | 1
12 | Stevenson Lachrymal Sac Retractor | 1
13 | Speedway Lachrymal Cannula Straight 23G | 1
14 | Speedway Lachrymal Cannula Half Curved 23G | 1
15 | Bishop Harmon Anterior Chamber Wash Cannula 400 Angled, Spatulated Tip 10 mm. from End, Overall Length 25 mm. 18G | 1
16 | Bishop Harmon Irrigating Silicon Bulb with Adapter | 1
17 | Beyer Rongeur Forceps Single Action Forceps | 1
18 | Kerrison Rongeur Forceps Upward | 1
19 | Killian Nasal Speculum Adult | 1
20 | Arruga Trephine Fixed 'T' Handle; size: 7.0-10.0 mm with 1.0mm increments | 1
21 | Speedway Mallet Kirby Handle | 1
22 | Bowman Lachrymal Probes (Set of 4, 8 Sizes) | 1
23 | Castroviejo Lachrymal Dilator Double Ended | 1
24 | Wilder Lachrymal Dilator, # 01 | 1
25 | Werb Pigtail Probe, Adult | 1
26 | Speedway Razor Blade Breaker & Holder | 1
27 | Desmarres Lid Retractor Solid Blade 11.0 mm | 1
28 | Rollet Catpaw Lachrymal Sac Hook | 1
29 | West Bone Gouge For Lachrymal Sac | 1
30 | West Bone Chisel For Lachrymal Sac | 1
31 | Freer Twin Elevator Sharp/Blunt Double ended | 1
32 | Traquair Periosteal Elevator | 1
33 | Speedway Plastic Sterilization Deep Single Tier Tray with One Silicon Mat, Size: 254 (L) x 152 (W) x 57 (H) mm | 1

## Annex 4 Cataract Set
Cataract Extraction Set Product List
S.No | Article | Quantity
1 | Dastoor Superior Rectus Forceps | 1
2 | Speedway Eye Dressing Forceps Straight | 1
3 | Baby-Jones Towel Clamp Cross Action | 1
4 | Kraff Capsule Tag Forceps | 1
5 | Kelman-Mcpherson Forceps Angled | 1
6 | Barraquer Suture Tying & Corneal Forceps 'Colibri' | 1
7 | Lims Suture Tying & Corneal Fine Teeth Forceps | 1
8 | Speedway Suture Tying & Corneal Forceps Straight Wide Handle 0.12 mm, 1 x 2 Teeth | 1
9 | Blaydes Lens Holding Forceps | 1
10 | Halstead Haemostatic Mosquito Forceps 12.0 cms Straight | 1
11 | Sinskey Iris & Lens Manipulating Hook | 1
12 | Kuglen Iris & Lens Manipulating Hook | 1
13 | Speedway Knife Blade Detachable (pack of 100) | 2
14 | Speedway Knife Handle No.: 3 Round Knurled | 1
15 | Castroviejo Corneal Scissors Right Micro 7mm Blades | 1
16 | Castroviejo Corneal Scissors Left Micro 7mm Blades | 1
17 | Castroviejo Corneal Scissors Universal | 1
18 | Westcott Tenotomy Scissors Pointed | 1
19 | Vannas Scissors Micro Angled 8.0 mm | 1
20 | Westcott Tenotomy Scissors Blunt | 1
21 | Castroviejo Caliper Scleral, Straight | 1
22 | Speedway Irrigating Handle Both Ends Leur Fitting 80 mm | 1
23 | Speedway Iris Scissors Size: 10.5 cms Curved | 1
24 | Speedway Carbon Steel Blade For Fragments | 10
25 | Speedway Razor Blade Breaker & Holder | 1
26 | Barraquer Needle Holder Short Body Curved | 1
27 | Kalt Needle Holder Straight | 1
28 | Jaefe Lens Spatula | 1
29 | Castroviejo Spatula Double Ended | 1
30 | Nightingale Capsule Polishing Curette Posterior | 1
31 | Knolle Pierse Irrigating Vectis | 1
32 | Kellan HydroDissection Cannula Angled Spatulated Tip 26G | 1
33 | Jenson Capsule Polisher Olive Tips, Gently Curved, Overall Length: 28 mm, 25G | 1
34 | Simcoe Irrigation / Aspiration Cannula with Silicon Tubing 0.3 mm. Aspirating Port (Aspiration Through Tubing) Regular, Left Hand Users | 1
35 | Bishop Harmon Irrigating Silicon Bulb with Adapter | 1
36 | Troutman Air Injection Cannula 25G | 1
37 | Bishop Harmon Anterior Chamber Wash Cannula 40degree Angled, Spatulated Tip 10 mm. from End, Overall Length 25 mm. 18G | 1
38 | Barraquer Eye Speculum Wire Fenestrated Blade Adult | 1
39 | Speedway Plastic Sterilization Deep Single Tier Tray with One Silicon Mat, Size: 254 (L) x 152 (W) x 57 (H) mm | 1

## Annex 5 IPD Bed
IPD bed with 3 Adjustments Comolete set( Matress,Pillow ,Bed sheet , Bedisid cobinet, IV pole & Over table)
System Configuration
1 | Handle for rotating the angle of feet, head and body
2 | Height adjustability up to 80cm
3 | Surface made of high quality plastic
4 | Metal frame
5 | Powdery color
6 | Two aluminium bedsides
7 | Four I.V pole sockets
8 | High quality plastic head frame
9 | Four corner bumpers
10 | Four 125mm casters
11 | Technical dimensions (cm): 60*85*208

## Annex 6 Bedside Cabinet
Patient bedside cabinet Specification
1: Metal body
2: Surface made of steel plate
3: Two legs made of 20mm steel tube
4: parts can be separated and reassembled
5: one drawer
6: one larder
7: powdery color
8: Technical dimensions (cm) 80*37*40

## Aneex 7 Mayo Table
Scrip trolley (Mayo table)
Technical specification:
Mayo table for surgical instruments stainless steel Description: MAYO table for surgical instruments Characteristics: Made of steel Removable top tray Height adjustable 75 mm swivel castors.
1 | Metal frame
2 | Powdery color or steeled
3 | Surface made of steel or MDF
4 | 75mm or 125mm casters
5 | parts can be separated and reassembled
6 | Adjustable hieght

## Annex 9 Vision chart
Vision Chart with stand

## Annex 10 Negatoscop
Negatoscop Specification
Body: 0, 70 mm sheet
Diffuser: Opal PMMA
Ballast: EN 60921-EN 61347-2-8-EN 61347-2-3
Starter: EN 60155
Base: EN 60400
Cable: 1 mm NYA
Coating: Electrostatic powder coating
Size: 60cm*60cm

## Annex 11 Procedure light
Procedure light LED

## Annex 12 IV. Stand
Drip (IV) Stand Specification
1: Steeled frame
2: Adjustable height
3: Steel down frame
4: Four 50mm casters
5: Technical dimensions (cm) 130up to 185

## Annex 13 Laryngoscope
Laryngoscope set, 4 blades.
Constituted of a large hollow, cylindrical, slightly ribbed handle and a set of four tongue depressors in stainless steel.
The handle is made of either chromium-plated or stainless steel. The handle can be opened at one end to insert two alkaline
batteries (LR14, size C, 1.5 Volts).
The other end has a stud contact which fits the various sizes and types of depressors.
The set of four depressors includes:
3 curved depressors, MacIntosh type:
No. 1: approximately 68 mm length with halogen bulb.
No. 2: approximately 93 mm length with Halogen bulb.
No. 3: approximately 113 mm length with halogen bulb.
1 straight depressor, Miller type:
No. 0: approximately 53 mm with halogen bulb.
Contained in suitable protective plastic box or vinyl sturdy padding case containing:
1 handle.
4 depressors.
1 spare halogen bulb for each depressor (total four spare lights).

## Annex 14 Dressing Trolley
Dressing Trolley Specification
All stainless steel construction
Guard rails on 3 sides
75mm diameter castors
Nylon drawer guides
Dressing trolley stainless steel trolley.
Standard Features:
Size : L 76 xW46 x H 82 cm.
Frame work made of Stainless steel mounted on four 10 cms. dia castors.
Two fixed type S.S. heavy gauge shelves.
Completely supplied with bucket and basin.

## Aneex 16 Keratometer
Keratometer With table
Specifications Of Manual Keratometer:
Measuring Head
Size Of Measuring Targets | 18*24mm
Distance Between Measuring Targets And Cornea | 175mm
Objective Lens Magnification | 1.2X
Eyepiece Magnification | 15X
Total Magnification | 18X
Radius Of Curvature | 5.5~11mm
Refractive Power | 30~60dpt
Accuracy ------Radius | 0.02mm
------Refractive Power | 0.25dpt
Refractive Index Based On The Diopter Calculation | 1.3375
Minimum Surface Required For Measurement | At 5.5mm ; Φ 1.65mm
At 7.5mm ; Φ 2.30mm
At 11mm ; Φ 4.00mm
Scale Protractor: ----------Field | 0~180°
---------Graduation | 5°
Illumination: | 6V20W Halogen Bulbs
Movement Base
Fore And Back Movement | 90mm
Left And Right Movement | 100mm
Fine Movement | 15mm
Vertical Movement | 30mm
Chin-Rest Parts
Vertical Movement | 80mm
Power Source
Input Voltage | 115/230V~
Input Frequency | 50/60HZ
Input Power | 56VA
Output Voltage | 7.2V~11.6V
Electric Safe Standard | Conform To Standard IEC601-1,Class I Type B
Dimension And Weight
Packing Box | 570mm*570mm*485mm
Total Weight | 23kg
Net Weight | 18kg

## Annex 18 Evisceration set
evisceration surgery set
1.Lancaster Eye Speculum | 1
2.Graefe Muscle Hook,Size 1 | 1
3.Wells Enucleation Spoon | 1
4.Elschnig Fixation Forceps | 1
5.Halsted Mosquito Forceps,Curved | 1
6.Stevens Tenotomy Scissors Curved | 1
7.Enucleation Scissors,Straight | 1
8.Eye Scissors,Straight | 1
9. Stainless
10. Bunge spoon

## Annex 19 Chalaziom Set
Chalaziom Set
Jaeler Lid Plate | 1
Meyhoefer Chalazion Curette | 1
Meyhoefer Chalazion Curette | 2
Meyhoefer Chalazion Curette | 3
Mehhoefer Chalazion Curette | 4
St.Martin Suture Forcep , 1 X 2 Teeth | 1
Desmarres Chalazion Forcep , 13mm / 20mm Dia | 1
Castroviejo Needle Holder ¦Curved , With Lock | 1
Bard - Parker Blade #11 | 1
Bard - Parker Handle | 1