## Char Qala Boys Secondary School
Bill of Quantity for Bore well Repairing of Char Qala Boys Secondary School Narang District
S.NO | Activities Descriptions | Quantity | Unit | Unit Cost (Afg) | Total Cost (Afg) | Remark
1 | Supply and installation of Solar Submersible (borewell depth = 40 meter) with all required activities and materials. | 1 | Pcs |  | 0
2 | Supply and installation of Solar Panel 250 Watt with all required activities and materials. | 4 | Pcs |  | 0
3 | Valve with all required activities. | 6 | Pcs |  | 0
4 | Pit Slab for top of well with all required activities. | 1 | Pcs |  | 0
Grand Total for one Bore well Repairing |  |  |  |  | 0

## Lamatak Boys Primary School
Bill of Quantity for Water Reservoir Repairing of Lamatak Boys Primary School in Narang District
S.NO | Activities Descriptions | Quantity | Unit | Unit Cost (Afg) | Total Cost (Afg) | Remark
1 | Zero chips work for internal side of the reservoir with all required activities. | 20 | Sqm |  | 0
2 | Painting 100 % of external wall (weather sheet) 3 coats from approved paint with all required activities. | 25 | Sqm |  | 0
3 | Taps with all required activities. | 5 | Pcs |  | 0
4 | Pipe 1" with all required activities. | 10 | m |  | 0
5 | Supply and installation of Solar Submersible (borewell depth = 35 meter), with all reqired material and activities. | 1 | JOB |  | 0
Grand Total |  |  |  |  | 0

## Bar Narang Boys High School
Bill of Quantity for Water Reservoir Construction for Bar Narang Boys High School in Narang District
S.NO | Activities Descriptions | Quantity | Unit | Unit Cost (Afg) | Total Cost (Afg) | Remark
1 | Site preparation. | 6 | Sqm |  | 0
2 | Excavation of foundation, leveling, and compaction according to the attached drawing and site engineer instructions with all required activities. | 5.76 | Cum |  | 0
3 | PCC concrete M:200, minimum 10 cm thickness as per site engineer instructions with all required activities. | 0.96 | Cum |  | 0
4 | Stone masonry of foundations with pointing and 1:4 mixing ratio of sand and cement according to attached drawing and site engineer instructions, with painting along all required activities. | 7.34 | Cum |  | 0
5 | Back filling to both side of stone masonry wall, and interior area of reservoir under stone boulder with local materials, leveling and compaction according to site engineer instructions with all required activities. | 3.02 | Cum |  | 0
6 | Stone boulder t=15 cm under PCC with all required activities. | 0.6 | Cum |  | 0
7 | RCC M:250 works, double reinforcement with all required activities. | 8.85 | Cum |  | 0
8 | Shuttering with all required activities. | 59 | Sqm |  | 0
9 | Painting 100% of Water Tank (Weather sheet ), 3 coats from approved paint based on the designed color and specification with all required activities. | 30 | Sqm |  | 0
10 | Steel ladder with all required activities. | 2 | m |  | 0
11 | Exterior plaster 1:3 mortar with water proof material with all required activities. | 30 | Sqm |  | 0
12 | Zero chips for interior surface of water reservoir with all required activities. | 21.6 | Sqm |  | 0
13 | Supply and installation of Solar Submersible (borewell depth = 20 meter), with all reqired material and activities. | 1 | Pcs |  | 0
14 | Supply and installation of Solar Panel 250 Watt with all required materialand activities. | 4 | Pcs |  | 0
Grand Total |  |  |  |  | 0

## Summary Sheet of Narang
Summary Sheet of All BoQs of Narang District Projects
S.No | Name & Location of School | Description of Project | Amount (AFN) | Remarks
1 | Char Qala Boys Secondary School in Narang District | Bore well Repairing according BoQ of Char Qala Boys Secondary School | 0
2 | Lamatak Boys Primary School in Narang District | Water Reservoir Repairing accordnig BoQ of Lamatak Boys Primary School | 0
3 | Bar Narang Boys High School in Narang District | Water Reservoir Construction according BoQ for Bar Narang Boys High School | 0
Total (AFN) |  |  | 0