## Practical Work Kit
Afghan Peace Builders Humanitarian Organization (APBHO)
Livelihood Projects, Solar Repairing Startup Kit for the practical work of 20 Students
Training Center startup kit BoQ for Solar repairing training.
Item No | Items Specification | Detailed Specifications | Unit | Total Quantity | Unit estimate price (AFN) | Total estimate price (AFN) | Pictures | Remarks
2 | Stranded Wire 1*1.5, Made in iran | Single-core, flexible copper wire suitable for low-voltage electrical installations and internal wiring. | Bundle | 0.5 |  | 0
3 | Sold Wire 2*1.5 type maghan, Made in Iran | Twin-core solid copper wire, ideal for fixed electrical installations with stable conductivity and durability | Bundle | 0.5 |  | 0
5 | Kawa | Electrical repairs, household and industrial use, precise and clean stripping of cables | PCS | 3 |  | 0
6 | Head gun, with the name of KOOCU,#852 Chines | Dual-function hot air rework station, suitable for soldering and desoldering electronic components. Adjustable temperature and airflow for precision work. | PCS | 3 |  | 0
7 | soldering iron, Solder wire tin lead 1.2% Best Quality Made in Turkey/China | High-performance solder wire for electronic and electrical soldering, ensuring strong conductivity and clean joints. | PCS | 20 |  | 0
11 | Charger Controller | Regulates the voltage and current from solar panels to batteries, preventing overcharging and damage | PCS | 3 |  | 0
13 | Inverter Online, 3.4 kw | Input Voltage: Typically 48V DC (battery) Output Voltage: 220V AC (or regional standard) Features: Continuous power supply with zero transfer time Pure sine wave output for sensitive electronics High efficiency and stable voltage regulation Overload, short circuit, and battery protection Application: Reliable power backup for homes, offices, and sensitive equipment requiring uninterrupted power supply | PCS | 1 |  | 0
15 | Gera for Submersibles, Made in china | High-quality electric motor designed specifically for submersible pumps, ensuring efficient operation and durability in water pumping applications. | PCS | 1 |  | 0
17 | Fitting and accessories, Ajustable wrench, screw, clift, Hammar, wire, cutter, knife, tape, measuring tape, Pillers different sypes, Electrical drill with blad) | High-quality plumbing and electrical fittings suitable for various installation needs. | Ls | 1 |  | 0
19 | AC/DC Megger Digital | Electrical testing, maintenance, troubleshooting, and preventive safety checks in residential, commercial, and industrial environments | PCS | 1 |  | 0
20 | Ampere meter digital Best Quality Original Made in China | Used in electrical panels, industrial machinery, and laboratory testing for monitoring electric current accurately. | PCS | 1 |  | 0
21 | Ampere meter Analog Best Quality Original Made in China | Used in electrical panels, industrial equipment, and testing setups for monitoring electric current with traditional analog feedback. | PCS | 1 |  | 0
24 | Change Power Single Phase Digital | Converts and regulates power for single-phase motors, allowing speed and torque control Used for controlling single-phase motor speed in pumps, fans, and other machinery requiring variable power control. | PCS | 3 |  | 0
25 | Change Power Three Phase Digital | Converts and controls power supply for three-phase motors, enabling precise speed and torque regulation Ideal for industrial machinery, pumps, conveyors, and other equipment requiring variable speed control on three-phase power systems. | PCS | 3 |  | 0
26 | fuse 10 ampere Best Quality Original Made in Iran/Turkey | Reliable fuse designed to protect electrical circuits by interrupting excessive current flow, preventing damage to wiring and devices. Suitable for residential, commercial, and industrial applications. | PCS | 2 |  | 0
28 | fuse 20 ampere Best Quality Original Made in Iran/Turkey | High-quality fuse designed to protect electrical circuits from overcurrent by safely interrupting excessive current flow. Suitable for residential, commercial, and industrial electrical systems. | PCS | 2 |  | 0
29 | fuse 32 ampere Best Quality Original Made in Iran/Turkey | High-quality fuse designed to protect electrical circuits from overcurrent by safely interrupting excessive current flow. Suitable for residential, commercial, and industrial electrical systems. | PCS | 2 |  | 0
30 | fuse 100 ampere Best Quality Original Made in Iran/Turkey | High-quality fuse designed to protect electrical circuits from overcurrent by safely interrupting excessive current flow. Suitable for residential, commercial, and industrial electrical systems. | PCS | 2 |  | 0
31 | Switch Single Pole, Type Jahan, Made in iran | Durable and reliable single pole switch designed for controlling electrical circuits, suitable for residential and commercial use. | PCS | 2 |  | 0
32 | Switch Double Pole, Type Jahan, Made in iran | High-quality double pole switch designed to control two separate electrical circuits simultaneously, ideal for residential and commercial applications. | PCS | 2 |  | 0
47 | Electrical Screw High Quality Made in China | Durable and corrosion-resistant screws designed specifically for electrical installations, ensuring secure fastening of electrical components and fixtures. | PCS | 6 |  | 0
50 | Water tape | WATERPROOF CLOTH TAPE – BLACK 2″ X 60 Made in China Best Quality | PCS | 4 |  | 0
51 | Measuring tape | Durable fiberglass or steel tape with clear markings | PCS | 3 |  | 0
52 | Wire plastic cutter High Quality Made in China | Durable and sharp plastic wire cutter designed for cleanly cutting plastic-coated wires and cables. Ergonomic handle for comfortable grip and precise cutting in electrical and construction work. | PCS | 3 |  | 0
8 | Electrical drill with blad | Item: Electrical Drill with Blades Type: Corded or Cordless Electric Drill Features: Comes with a set of interchangeable drill bits/blades for various materials (wood, metal, masonry) Ergonomic design for comfortable use Variable speed control (depending on model) Suitable for drilling, screwing, and light demolition tasks Application: Ideal for construction, carpentry, electrical work, and DIY projects. | PCS | 2 |  | 0
12 | Paste For Hidgan | Decent High Quality Used For: Soldering Tool Suitable for: Soldering Iron Melting point: 125 High Quality Fluxing excellent results joint high intensity Good insulation Smooth welding surface An effective and reliable flux paste which simplifies soldering and lead jointing. Made in China Or Equivalent | PCS | 3 |  | 0
13 | Tweezers Precision Set for Hardware | Tweezers Precision Set, Easily Life 10pcs ESD Tweezers Set, Anti Static Stainless Steel Anti Magnetic Tweezers Set with Storage Bag for Craft, Electronics Repair, Jewelry Repair, Made in China or Equivalent | PCS | 3 |  | 0
15 | Bursh For DC Water Pump | 100% Brand New High Quality, Material: Plastic + Metal Size: About 17*8*6mm Color: As shown. Package includes: 2* Motor copper carbon brush Made in China or Equivalent | PCS | 3 |  | 0
17 | Slish Tob For Water Pump | Type: RTV Silicone Sealant Capacity: 300 ml Color: White Application: Sealing and waterproofing Usage: Indoor and outdoor Features: Waterproof, flexible, strong adhesion Applicable Materials: Glass, aluminum, ceramic, concrete, plastic, and metal Application Method: Manual/Pneumatic caulking gun Drying Time: Approximately 20–30 minutes Full Cure Time: 24 hours Temperature Resistance: -50°C to 200°C Shelf Life: 12 Country of Origin: China or equivalent. | PCS | 5 |  | 0
18 | Cawa Soldering Paste Flux | Decent High Quality Used For: Soldering Tool Suitable for: Soldering Iron Melting point: 125 High Quality Fluxing excellent results joint high intensity Good insulation Smooth welding surface An effective and reliable flux paste which simplifies soldering and lead jointing. Made in China Or Equivalent | PCS | 5 |  | 0
Sub Total (AFN) | [5 empty] | 0
Total Price for all the above summary elemetns Including all tax according to income tax manual of Ministry of Finance ; government of Afghanistan
Company Name
Date
Signature
Stamp
Total Cost |  | 0
Total Price in Words

## Tools Kits
Afghan Peace Builders Humanitarian Organization (APBHO)
Livelihood Projects, Solar repair training for 20 boys
Solar repairing training Tools kit BoQ for 1 individuals trainee.
Item No | Items Specification | Detailed Specifications | Unit | Total Quantity | Unit estimate price (AFN) | Total estimate price (AFN) | Pictures | Remarks
1 | Kawa | Electrical repairs, household and industrial use, precise and clean stripping of cables | PCS | 1 |  | 0
2 | AC/DC Megger Digital | PRIDE LION PL526 | PCS | 1 |  | 0
3 | Pliers different types High Quality Made in China | Durable and versatile pliers including needle-nose, combination, cutting, and slip-joint types, designed for electrical, mechanical, and general-purpose use with ergonomic handles for comfortable grip. | PCS | 1 |  | 0
4 | Electrical Screw High Quality Made in China | Durable and corrosion-resistant screws designed specifically for electrical installations, ensuring secure fastening of electrical components and fixtures. | PCS | 1 |  | 0
5 | Screw different types and size made in china | Wide range of high-quality screws available in different types (wood, machine, self-tapping, etc.) and sizes, suitable for electrical, mechanical, and general construction applications. Durable and corrosion-resistant. | Set | 1 |  | 0
6 | Metal Saw High Quality Made in China | Durable metal saw designed for cutting various metals with precision and ease. Features sharp, hardened blades and ergonomic handle for efficient and safe operation in industrial and workshop settings. | PCS | 1 |  | 0
7 | Water tape | Made in China Best quality | PCS | 1 |  | 0
8 | Measuring tape | Durable fiberglass or steel tape with clear markings shakeresesistance | PCS | 1 |  | 0
9 | Wire plastic cutter High Quality Made in China | Durable and sharp plastic wire cutter designed for cleanly cutting plastic-coated wires and cables. Ergonomic handle for comfortable grip and precise cutting in electrical and construction work. | PCS | 1 |  | 0
10 | Hammer | Steel head with wooden or fiberglass handle | PCS | 1 |  | 0
11 | Electrical drill with blad | Item: Electrical Drill with Blades Type: Corded or Cordless Electric Drill Features: Comes with a set of interchangeable drill bits/blades for various materials (wood, metal, masonry) Ergonomic design for comfortable use Variable speed control (depending on model) Suitable for drilling, screwing, and light demolition tasks Application: Ideal for construction, carpentry, electrical work, and DIY projects. | PCS | 1 |  | 0
12 | Heat gun, with the name of Ronix | 2000W/220-240V/50-60Hz/50-600Cg/1:250-2:250-3:350L/min/1kg | PCS | 1 |  | 0
13 | soldering iron, Solder wire tin lead 1.2% Best Quality Made in Turkey/China | High-performance solder wire for electronic and electrical soldering, ensuring strong conductivity and clean joints. | PCS | 1 |  | 0
14 | Battery dried (100 Amp Rechargable sealed Lead Acid Battery DC Power). Best Quality Indian/ Thiland | Durable, sealed, and maintenance-free lead acid battery suitable for solar systems, UPS, and DC power backup applications. | PCS | 1 |  | 0
15 | Solar panels (390 watt),variuos companies Best Quality Made in Germany, Malaysia or India | High-efficiency photovoltaic panels suitable for residential and commercial solar power systems, offering reliable energy conversion and durability. |  | 2 |  | 0
16 | working Table for student size(150*80*75) Made from Origional Board named Lasani double iron | Original Lasani board with double iron frame | PCS | 1 |  | 0
17 | paste Fir Hidgan | Decent High Quality Used For: Soldering Tool Suitable for: Soldering Iron Melting point: 125 High Quality Made in China or equivalent | PCS | 1 |  | 0
18 | Tweezers Precision Set for Hardware | Tweezers Precision Set, Easily Life 10pcs ESD Tweezers Set, Anti Static Stainless Steel Anti Magnetic Tweezers Set with Storage Bag for Craft, Electronics Repair, Jewelry Repair, Made in China or Equivalent | PCS | 1 |  | 0
19 | Chair for Trainees, Type KABUL NUBLE | Comfortable and sturdy chair designed specifically for training rooms and classrooms. Features ergonomic design for extended use and durable materials suitable for frequent use in educational settings. | PCS | 1 |  | 0
20 | Cawa Soldering Paste Flux | Decent High Quality Used For: Soldering Tool Suitable for: Soldering Iron Melting point: 125 High Quality Fluxing excellent results joint high intensity Good insulation Smooth welding surface An effective and reliable flux paste which simplifies soldering and lead jointing. Made in China Or Equivalent | PCS | 1 |  | 0
Sub total for one Kit (AFN) | [5 empty] | 0
Grand total for 20 Kits (AFN) | [5 empty] | 0
Total Price for all the above summary elemetns Including all tax according to income tax manual of Ministry of Finance ; government of Afghanistan
Company Name
Date
Signature
Stamp
Total Cost |  | 0
Total Price in Words