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RFQ No: TLO-RFQ-076-2026



Request for Quotations (RFQ)


Latrine Construction or rehabilitation in Dawlatyar and Ferozkoh districts of Ghor Province
 


Project Title: GPE-STG



Issue on: 4th October 2026

Closing on: 11th October 2026




Introduction:
The Liaison Office (TLO)
The Liaison Office (TLO) is an independent Afghan non-governmental organization established in 2003 with the aim of improving local governance, stability, and security through systematic and institutionalized engagement with customary structures, local communities, and civil society groups. Emerging from a Swiss-supported initiative on local governance, TLO has grown into an independent organization committed to locally driven solutions that enhance resilience, service delivery, and social cohesion across Afghanistan.
Guided by the values of integrity, accountability, and conflict sensitivity, TLO's work is centered on a community-focused approach that places local voices at the heart of decision-making. With over 312 staff members, the organization maintains a strong presence across Afghanistan, including regional offices in Paktia, Paktika, Khost, Ghazni, Daikundi, Herat, Farah, Wardak, Nangarhar, Balkh, Samangan, Baghlan, and Kabul provinces. Through its integrated programs in agriculture, natural resource management, education, health, Peacebuilding, economic employment, research, and humanitarian assistance, TLO strives to empower communities, build capacities, and contribute to Afghanistan's long-term development.
Current and recent TLO funders include a diverse array of international organizations and government agencies, such as the United States Institute of Peace, USAID, the Open Society Institute, DAI, GIZ, the governments of Australia, Germany, the Netherlands, Norway, Switzerland, Canada, UNHCR, Cordaid, UNICEF, SIDA, and ECW. This multi-faceted support enables TLO to drive positive change and foster sustainable development in alignment with the needs and aspirations of the local populace. Through its research, dialogue facilitation, access to justice, and advocacy efforts, the organization remains committed to a future where Afghan communities are resilient, self-reliant, and thriving.
Activities/ Tasks
Only Ghor Province base construction companies should provide hard copy of quotation for the items listed below:
LATRINE CONSTRUCTION & REHABILITATION IN DAWLATYAR AND FEROZKOH DISTRICTS OF GHOR PROVINCE
	SR#
	مشخصات  Particulars
	Unit
	Qty
	Unit Cost 
AFN
	Total Cost
AFN

	1
	Supply and installation of Steel door (200 × 90) cm (20-gauge) complete with all necessary accessories, fittings, and fixings, complete in all respects.
	Each
	11.00
	
	

	2
	Supply and installation of Steel door with windows (230 × 80) cm (20-gauge) complete with all necessary accessories, fittings, and fixings, complete in all respects.
	Each
	3.00
	
	

	3
	Supply and installation of Steel door (210 × 75) cm (20-gauge) complete with all necessary accessories, fittings, and fixings, complete in all respects.
	Each
	6.00
	
	

	4
	Supply and installation of Steel door (180× 80) cm (20-gauge) complete with all necessary accessories, fittings, and fixings, complete in all respects.
	Each
	18.00
	
	

	5
	Supply and installation of Steel door (150 × 70) cm (20-gauge) complete with all necessary accessories, fittings, and fixings, complete in all respects.
	Each
	2.00
	
	

	6
	Supply and installation of Steel window with mesh (50 × 50) cm, complete with all necessary accessories, fittings, and fixings, complete in all respects.
	Each
	14.00
	
	

	7
	Supply and installation of Steel window with mesh (40 × 40) cm, complete with all necessary accessories, fittings, and fixings, complete in all respects.
	Each
	21.00
	
	

	8
	Supply and installation of Steel window with mesh (50 × 70) cm, complete with all necessary accessories, fittings, and fixings, complete in all respects.
	Each
	1.00
	
	

	9
	Supply and installation of Vault sheet steel door (47 × 47) cm, complete with all necessary accessories, fittings, and fixings, complete in all respects.
	Each
	38.00
	
	

	10
	PCC (M150) concrete with river gravel including all necessary materials, labor, placing, leveling, and finishing, complete in all respects
	m³
	5
	
	

	11
	Supply and installation of 4- inches PVC pipe,6 bar pressure, including all necessary fittings, accessories, and fixings, complete in all respects.
	M
	50.00
	
	

	12
	Supply and installation of 2-inches PVC pipe, 6 bar pressure, including T-elbows and all necessary fittings, accessories, and fixings, complete in all respects.
	M
	55.00
	
	

	13
	Supply and installation of 3- inches PVC pipe, 6 bar pressure, including all necessary fittings, accessories, and fixings, complete in all respects.
	M
	98.00
	
	

	14
	Plaster in 1:3 cement-sand mortar to internal and external walls, including all necessary surface preparation, leveling, filling, finishing, materials, labor, and accessories, complete in all respects
	m²
	955.68
	
	

	15
	Supply and installation of Steel gutter 1 meter length with all requirements work.
	M
	35.00
	
	

	16
	Supply and installation of high-quality flexible plastic pipe, 32 mm diameter, including all necessary fittings, accessories, and fixings, complete in all respects.
	M
	440.00
	
	

	17
	Supply and installation of a 1,000-liter galvanized steel water tank, 1 mm thick, including all necessary fittings, accessories, and connections, complete in all respects.
	Each
	1.00
	
	

	18
	Supply and installation of a 2,000-liter galvanized steel water tank, 1 mm thick, including all necessary fittings, accessories, and connections, complete in all respects.
	Each
	2.00
	
	

	19
	Supply and installation of a 500-liter galvanized steel water tank, 1 mm thick, including all necessary fittings, accessories, and connections, complete in all respects.
	Each
	13.00
	
	

	20
	Roofing works, including installation of 10 cm wooden beams, 2 cm thick wooden planks, plastic sheeting, and mud plaster, including all necessary materials, labor, and fixings, complete in all respects.  
	LS
	12.00
	
	

	21
	Supply and installation of 4mm thick clear glass for latrine door, including all necessary accessories.
	m²
	4
	
	

	22
	Supply and installation of insect protection wire mesh (jali) for window, including all necessary accessories.
	m²
	3.5.00
	
	

	23
	Supply and installation of ceiling curtains Size (3,20m width) including all necessary accessories and fixings, complete in all respects..
	M
	8.00
	
	

	24
	Supply and installation of windows curtain Size (2m width) including all necessary accessories.
	M
	20.00
	
	

	25
	Two or more coats of 100% plastic paint on internal walls, applied to achieve a smooth, uniform, and consistent finish, complete in all aspects.
	m²
	40.00
	
	

	26
	Supply and installation of 4mm thick clear glass for windows
	m²
	2.53
	
	

	27
	Excavation for latrine foundations and dry pit in grade III soil.
	m³
	6.00
	
	

	28
	Supply and construction of mud brick walls using mud bricks (300 × 200 × 150 mm), including all necessary materials, labor, laying, alignment, jointing, and finishing, complete in all respects.
	Job
	4.00
	
	

	29
	Two coats of oil paint to windows and door, including all necessary surface preparation, to achieve a smooth, uniform, and consistent color and finish, complete in all respects.
	m²
	25.30
	
	

	30
	Precast RCC slab (160 × 110 × 5) cm, M200(1:1.5:3) including steel reinforcement and formwork, complete in all respects. 
	Job
	4.00
	
	

	31
	Precast RCC Slab(115x115x5) cm, M200(1:1.5:3) including steel reinforcement and formwork, complete in all respects.
	Job
	6.00
	
	

	32
	Stone masonry in 1:4 cement-sand mortar for foundations and pit walls, including all necessary materials, labor, jointing, and finishing, complete in all respects.
	m³
	6.00
	
	

	33
	Stone masonry above ground level in 1:4 cement-sand mortar for pit walls, including all necessary materials, labor, jointing, and finishing, complete in all respects.
	m³
	12.00
	
	

	Total in AFN
	



Eligibility, Evaluation, and Requests for Information 
Only those companies that: 
· Possess a valid business license
For their bids to be considered “responsive” and be evaluated for award, qualified Offers must: 
I. Submit all information required below on or before the time/date mentioned. 
II. Demonstrate the capability (supported by client references and/or literature) to meet the requirements specified in the Statement of Work. 
III. Have a satisfactory record of Past Performance at least three contracts. (Attaching the Contract/Purchase Order with Completion Certificate, GRN, to the RFQ is recommended)
IV. Supplier must provide performance guarantee of 10% of the total contract amount at the time of contract/ PO signature
Content and Format of Your Proposal 
For TLO to conduct the most efficient analysis of proposals received, please format your response as follows: 
1. A letter of transmittal confirming:
a. Your company’s status is that of a licensed firm with AISA/Ministry of Commerce. 
b. The validity of your proposal/Quotes for a minimum of Ninety (90) calendar days. The letter must be signed by someone authorized to bind your company and negotiate on your company’s behalf. 
2. A discussion of your approach to providing the required services. You must meet ALL the requirements. 
3.  A description of your company’s capabilities to provide the required goods, including evidence of financial responsibility and other Governmental Regulatory licenses. 
4. The successful offer will receive a fixed-price contract for the period stipulated in this RFQ. The fixed prices will remain in effect for the entire Period of Performance unless modified in writing by TLO. 
Rates should be presented in AFN. 
TIME FRAME
The purpose of this RFQ is to identify and hire a vendor to provide the above-listed goods.
Service / Product Delivery and Payment Terms:
· Payment method: The supplier will be paid through bank account transfer after satisfactory delivery (no advance payment to the vendors).
· Delivery timeline: one month after contract signing.
· Mode of Shipment: DDP
· Delivery Address: Ghor Province (please see the above description for locations) 
Submission of Quotation: The deadline for submission of sealed hard copies of offers is 11th October 2026 / 10:00 AM Local Time. (Kabul, Afghanistan time) at the address: House # 38, Street # 06, Taimani Watt Kabul-Afghanistan. Please reference this (TLO-RFQ-076-2026) on the sealed envelopes. 
RFQ received after the deadline may not be considered. Proposals must be valid for a minimum of Ninety (90) calendar days.
Questions and Clarifications 
Any questions/clarifications should be submitted by email to Mansoor Rostami (grantsdepartment@tlo-afghanistan.org) & Said Khan Rohi (rohi.saidkhan@tlo-afghanistan.org) by 10:00 am (Kabul, Afghanistan time) on 9th October 2026.
Prices & Terms of Contract:
Vendors must quote the price in AFN. The price quotes shall be free of any tax (such as VAT)
1. The Liaison Office shall deduct the applicable tax (currently 2%) on any contract as required by Afghan Law and will make the direct deposit to the Da Afghanistan Bank if the supplier cannot provide the registration certificate or the registered certificate is against to their business. If still awarded for the contract in this case (7% tax) will be deducted from the total amount of the contract and will be deposited to the Da Afghanistan Bank. As the tax withholding entity, The Liaison Office is required to remit the income tax amount withheld directly to the Ministry of Finance designated account.
1. Your quotation will be accepted, and payment will proceed as per your business title.
1. The Liaison Office pays for any kind of supply and service; Account payee checks by the name of your company, not by the name of the person (this is not an open check).
1. The penalty applies to the selected company in case of late delivery (0.5% per Day).
1. You should have a Bank account according to your business title.
1. Your quotation should be signed and stamped.
1. The Liaison Office reserves the right to cancel this process without further notice from the vendors.
Please Mark:
a) I certify that I have provided a quote and agree with your payment terms and conditions. 
b) Total Completion calendar days (      ).
Signature and stamp: 
…………………………………………………………………………………………………………………………………………
Name: 	              	 	 ________________________________________		
Company Name: 	 ________________________________________
E-mail address:   	 ________________________________________ 
Mobile Phone:     	 ________________________________________
Address:           	 	 ________________________________________
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