## Measurements (hidden)
No | Activity | Description | Unit | No | Length | Width | Depth | Total | Remarks
1 | Site prepration
| Site prepration | Construction Area | Lump Sum | 1 |  |  |  | 1
Total | [7 empty] | 1
1 | Exterior plaster Repairing
| Exterior Plaster | Axis A | m2 | 1 | 25.89 |  | 2.6 | 67.314
|  | Axis C | m2 | 2 | 10.3 |  | 2.6 | 53.56
|  | Axis D | m2 | 2 | 1.18 |  | 2.6 | 6.136
|  | Axis F | m2 | 1 | 7.89 |  | 2.6 | 20.514
|  | Axis 1,7 | m2 | 2 | 7.5 |  | 2.6 | 39
|  | Axis 3,5 | m2 | 2 | 8.24 |  | 2.6 | 42.848
|  | Axis 3,5 | m2 | 2 | 3.78 |  | 2.6 | 19.656
|  | Parapet | m2 | 1 | 26 |  | 0.5 | 13
Total | [7 empty] | 262.028
2 | Exterior Painting
| Exterior Plaster | Axis A | m2 | 1 | 25.89 |  | 2.6 | 67.314
|  | Axis C | m2 | 2 | 10.3 |  | 2.6 | 53.56 |  | 2.05
|  | Axis D | m2 | 2 | 1.18 |  | 2.6 | 6.136
|  | Axis F | m2 | 1 | 7.89 |  | 2.6 | 20.514
|  | Axis 1,7 | m2 | 2 | 7.5 |  | 2.6 | 39
|  | Axis 3,5 | m2 | 2 | 8.24 |  | 2.6 | 42.848
|  | Axis 3,5 | m2 | 2 | 3.78 |  | 2.6 | 19.656
|  | Parapet | m2 | 1 | 101 |  | 2.55 | 257.55
Total | [7 empty] | 506.578
2 | Interior Plaster Repairing
| Interior Plaster for walls | Entity N | m2 | 1 | 8.77 | 1.25 |  | 10.9625
|  | Entity M | m2 | 1 | 4.41 | 0.5 |  | 2.205
|  | Entity L | m2 | 1 | 3 | 0.5 |  | 1.5
|  | Entity K | m2 | 1 | 6.42 | 2 |  | 12.84
|  | Entity H | m2 | 1 | 6.65 | 2.5 |  | 16.625
|  | Entity I | m2 | 1 | 3 | 0.5 |  | 1.5
|  | Entity F | m2 | 1 | 0.5 | 0.5 |  | 0.25
|  | Entity F' | m2 | 1 | 1 | 2.5 |  | 2.5
|  | Entity A | m2 | 1 | 2 | 0.5 |  | 1
|  | Entity B | m2 | 1 | 9.5 | 2.5 |  | 23.75
|  | Entity D | m2 | 1 | 5.16 | 1.2 |  | 6.192
Total | [7 empty] | 79.3245
| Interior Plaster for ceilling | Entity M | m2 | 1 | 2 | 1 |  | 2
|  | Entity L | m2 | 1 | 4.4 | 3 |  | 13.2
|  | Entity K | m2 | 1 | 3 | 3 |  | 9
|  | Entity H | m2 | 1 | 3 | 2 |  | 6
|  | Entity I | m2 | 1 | 1 | 1 |  | 1
|  | Entity J | m2 | 1 | 3 | 2 |  | 6
|  | Entity G | m2 | 1 | 2 | 2.5 |  | 5
|  | Entity F | m2 | 1 | 1.5 | 3.5 |  | 5.25
|  | Entity F' | m2 | 1 | 2 | 5 |  | 10
|  | Entity A | m2 | 1 | 4 | 2 |  | 8
|  | Entity B | m2 | 1 | 2 | 2.5 |  | 5
|  | Entity D | m2 | 1 | 1 | 1 |  | 1
|  | Entity C | m2 | 1 | 3 | 1.5 |  | 4.5
Total | [7 empty] | 75.95
3 | Interior Painting
| Interior paint for walls | Entity A | m2 | 1 | 12.59 | 2.5 |  | 31.475
|  | Entity B | m2 | 1 | 22.26 | 2.5 |  | 55.65
|  | Entity F' | m2 | 1 | 20.95 | 2.5 |  | 52.375
|  | Entity F | m2 | 1 | 13.64 | 2.5 |  | 34.1
|  | Entity H | m2 | 1 | 15 | 2.5 |  | 37.5
|  | Entity I | m2 | 1 | 24.22 | 2.5 |  | 60.55
|  | Entity K | m2 | 1 | 13.42 | 2.5 |  | 33.55
|  | Entity L | m2 | 1 | 15 | 2.5 |  | 37.5
|  | Entity M | m2 | 1 | 17.2 | 2.5 |  | 43
|  | Entity N | m2 | 1 | 16 | 2.5 |  | 40
Total | [7 empty] | 425.7
| Interior paint for ceilling | Entity A | m2 | 1 | 3.77 | 4.91 |  | 18.5107
|  | Entity B | m2 | 1 | 4.05 | 7.08 |  | 28.674
|  | Entity C | m2 | 1 | 3 | 1.5 |  | 4.5
|  | Entity D | m2 | 1 | 5.16 | 3 |  | 15.48
|  | Entity F' | m2 | 1 | 9.53 | 1.9 |  | 18.107
|  | Entity f | m2 | 1 | 3.45 | 3.37 |  | 11.6265
|  | Entity G | m2 | 1 | 2.39 | 2 |  | 4.78
|  | Entity H | m2 | 1 | 4.38 | 4 |  | 17.52
|  | Entity I | m2 | 1 | 5.45 | 6.66 |  | 36.297
|  | Entity J | m2 | 1 | 3 | 2 |  | 6
|  | Entity K | m2 | 1 | 3.21 | 3.45 |  | 11.0745
|  | Entity L | m2 | 1 | 4.5 | 3 |  | 13.5
|  | Entity M | m2 | 1 | 4.5 | 4.11 |  | 18.495
|  | Entity L | m2 | 1 | 4.5 | 3.4 |  | 15.3
|  | Entity M | m2 | 1 | 2 | 1.7 |  | 3.4
Total | [7 empty] | 223.2647
3 | Windows Adjustment
|  | Windows | No | 25 |  |  |  | 25
Total | [7 empty] | 25
4 | Installation of Doors
| Doors | D1 | m2 | 8 | 1 | 2.5 |  | 20
|  | D2 | m2 | 4 | 0.8 | 2.5 |  | 8
|  | Dw1 | m2 | 1 | 1.97 | 2.5 |  | 4.925
|  | Dw2 | m2 | 2 | 3.77 | 2.5 |  | 18.85
Total | [7 empty] | 51.775
5 | Floor tiles
| Floor | Entity A | m2 | 1 | 3.77 | 4.91 |  | 18.5107
|  | Entity B | m2 | 1 | 4.05 | 7.08 |  | 28.674
|  | Entity D | m2 | 1 | 2.95 | 5.16 |  | 15.222
|  | Entity F' | m2 | 1 | 1.9 | 9.53 |  | 18.107
|  | Entity F | m2 | 1 | 3.37 | 3.45 |  | 11.6265
|  | Entity H | m2 | 1 | 4.38 | 3.96 |  | 17.3448
|  | Entity I | m2 | 1 | 6.66 | 5.45 |  | 36.297
|  | Entity K | m2 | 1 | 3.21 | 3.45 |  | 11.0745
|  | Entity L | m2 | 1 | 4.4 | 3 |  | 13.2
|  | Entity M | m2 | 1 | 4.4 | 4.11 |  | 18.084
|  | Entity N | m2 | 1 | 4.4 | 3.4 |  | 14.96
Total | [7 empty] | 203.1005
6 | Roof Repairing
| Roof | Roof | m2 | 1 | 135.069 |  |  | 135.069
Total | [7 empty] | 135.069
7 | Toilets Tiles
| Toilet Floor | Toilet C | m2 | 1 | 3 | 1.5 |  | 4.5
|  | Toilet O | m2 | 1 | 1.65 | 1.9 |  | 3.135
|  | Tolet G | m2 | 1 | 2.4 | 2 |  | 4.8
|  | Toilet J | m2 | 1 | 3.3 | 2.1 |  | 6.93
Total | [7 empty] | 19.365
8 | Toilets wall Tiles
| Toilet Walls | Toilet C | m2 | 1 | 9 | 2.5 |  | 22.5
|  | Toilet O | m2 | 1 | 7.04 | 2.5 |  | 17.6
|  | Tolet G | m2 | 1 | 8.78 | 2.5 |  | 21.95
|  | Toilet J | m2 | 1 | 10.78 | 2.5 |  | 26.95
|  | kitchen | m2 | 1 | 16.32 | 2.5 |  | 40.8
Total | [7 empty] | 89
9 | Kitchen Cup Boards
| Kitchen | Cup Boards | m2 | 1 | 3.25 |  | 0.6 | 1.95
Total | [7 empty] | 1.95
10 | Kitchen Desk
| Kitchen | Desk | m2 | 1 | 5.75 |  | 0.9 | 5.175
Total | [7 empty] | 5.175
12 | Pointing Paint
| wall | paint | m2 | 1 | 101 |  | 0.5 | 50.5
Total | [7 empty] | 50.5
12 | PVC Doors
| D1 |  | m2 | 1 | 3.8 |  | 2.5 | 9.5
| D2 |  |  | 2 | 2 |  | 2.5 | 10
Total | [7 empty] | 19.5
12 | Skirt Wall
| wall |  | Lm | 1 | 160 |  |  | 160
Total | [7 empty] | 160

## Summary
Renovation of ( Zaka Afghani Girls and Boys Primary School )
The cost for all items in this BOQ, in general, includes deploying any machinery, and manpower, and carrying out any relocations/ removal/ salvage/ disposal /reinstating tasks. The costs of checking and testing for all items and materials that need to be used should be included in the relevant unit cost of related items. However, particular issues with the costs of items are mentioned under each section in this BOQ. Details of work method & and equipment/machinery for different types of work shall be brought to the attention of the Engineer to get approval of the Engineer before commencing the jobs. Read all project documents before pricing the job. Changes in market prices during the project period for any item are the responsibility of the Contractor without any extra payment. For all the finishing, electrical accessories, structural items & and materials, mechanical accessories/equipment, plumbing-related materials/items, and other equipment that are mentioned in this BoQ and going to be used, samples, product data from manufacturers/companies, certificates should be submitted to Client in charge Engineer and get their approvals from in charge engineer before start the activity or use the materials and accessories in the project. The contractor has to produce the manufacturer approval certificate of the production country for all the major construction materials and the ISO certificate. The contractor must provide samples, mockups, and catalogs for testing/inspection and approval by the site engineer, The Contractor will bear the cost for samples, including any laboratory tests, both inside and outside the country, as required. The contractor must provide PPE for all laborers, personnel, engineers, and possible visitors to the site.
S.N | Items (Bill) | Cost (AFN)
1 | School Building and latrines Renovation | 0
| Grand total amount in AFN | 0
`

## A - School Building Revolution
Renovation of ( Zaka Afghani Girls and Boys Primary School )
The following text outlines important guidelines that must be followed during the project. It is important to clarify that the total cost of all items listed in this BOQ includes the deployment of machinery and manpower, as well as any relocation, removal, salvage, or reinstatement tasks. It is also important to note that the cost of checks and testing for items and materials to be used must be included in the relevant unit cost of related items. However, specific issues with the costs of items are mentioned under each section in this BOQ. Before commencing any job, details of work methods and equipment/machinery for different types of work must be brought to the attention of the Engineer for approval. Furthermore, it is important to read all project documents before pricing the job. Any changes in market prices during the project period for any item are the contractor's responsibility without any extra payment. To ensure quality and safety, all finishing, electrical accessories, structural items and materials, mechanical accessories/equipment, plumbing-related materials/items, and other equipment mentioned in this BOQ and going to be used must be approved by the Client in charge Engineer before starting the activity or using the materials and accessories in the project. The approval process involves submitting samples, product data from manufacturers/companies, and certificates. The contractor must also provide the manufacturer approval certificate of the production country for all major construction materials and the ISO certificate. Samples, mockups, and catalogs for testing/inspection and approval by the site engineer must be provided by the contractor. The Contractor will bear the cost for samples, including any laboratory tests, both inside and outside the country, as required. Finally, the contractor must provide Personal Protective Equipment (PPE) for all laborers, personnel, engineers, and visitors to the site to ensure their safety during the project
Sar-e-Pol Province center of Sar-e-Pol Zaka Afghania Boys and Girls Primary School
Priority 1 School Building and latrines Renovation
A - School Building Renovation |  | Unit | Quantity | Unit price (AFN) | Total cast (AFN) | Remark
S.N | Description
A. Civil Works:
A1 | Removing the existance roof mud plaster and damaged plank board 2.5cm Prepare all materials, equipment, and manpower for Removing the existance roof mud plaster and damaged plank board with all related activities to complete the job as per drawing and instruction of the in-charge engineer all waste materials and debris are to be transported to the approved damp site. All tasks for this item are to be under the full approval of the charge engineer | M2 | 296.76 |  | 0
A2 | Roofing work includig (Wooden board laying 2.5cm, water proof tent, peice of brick evarage 5cm, 5cm PCC 1:2:4+mesh wire 2.7mm and one layer isogam Prepare all materials, equipment, and manpower for roofing work including laying water proof tent, gravels PCC and isogam and plank board 2.5cm with all related activities to complete the job as per drawing and instruction of the in-charge engineer all waste materials and debris are to be transported to the approved damp site. All tasks for this item are to be under the full approval of the charge engineer | M2 | 296.76 |  | 0
A3 | Supply and installation of Shelter on entrance building door: Prepare all materials, equipment, and manpower for installation Iron sheet shelter within GI pipe 4inch and profile box 40x80mm including anti rust and oil paint and other related activities to complete the job as per drawing and instruction of the in-charge engineer all waste materials and debris are to be transported to the approved damp site. All tasks for this item are to be under the full approval of the charge engineer | M2 | 24.2 |  | 0
A4 | Brick Masonry wall with 1st grade, standard-size clay burnt bricks: Prepare all materials, equipment, and manpower to Build 25 -35 cm thick Brick Masonry wall with 1st grade, standard-size clay burnt bricks with cement mortar 1:4 with with all related activities to complete the job as per drawing and instruction of the in-charge engineer . | M3 | 1.68 |  | 0
A5 | Supply and installation of gutters length 1.5m Prepare all materials, equipment, and manpower to make standard-size with all related activities to complete the job as per drawing and instruction of the in-charge engineer . | pic | 16 |  | 0
A6 | Removing the exterior and interior wall-damaged cement and sand Plaster Prepare all materials, equipment, and manpower for Removing the exterior wall-damaged cement and sand Plaster with all related activities to complete the job as per drawing and instruction of the in-charge engineer all waste materials and debris are to be transported to the approved damp site. All tasks for this item are to be under the full approval of the charge engineer | M2 | 72 |  | 0
A7 | Repair exterior, interior wall cracks and damages by cement and sand Plaster 1:4 Prepare all materials, equipment, and manpower for exterior wall cement and sand Plaster 1:4 with all related activities to complete the job as per drawing and instruction of the in-charge engineer All tasks for this item are to be under full approval in charge engineer | M2 | 160 |  | 0
A8 | Removing existing damaged class floor PCC and sidewalks Prepare all materials, equipment, and manpower for Removing existing damaged floor PCC with all related activities to complete the job as per drawing and instruction of the in-charge engineer all waste materials and debris are to be transported to the approved damp site. All tasks for this item are to be under the full approval of the charge engineer | M3 | 18.741 |  | 0
A9 | Compacted gravel under class floor and sidewalks Prepare all materials, equipment, and manpower for compacted gravel 10cm thickness with all related activities to complete the job as per drawing and instruction of the in-charge engineer all waste materials and debris are to be transported to the approved damp site. All tasks for this item are to be under the full approval of the charge engineer | M3 | 12.494 |  | 0
A10 | PCC 15MPA for Class floor, Sidewalk and ramps Prepare all materials, equipment, and manpower for casting 15 MPA PCC for floors, sidewalk and ramp with formworks and surface preparation with all related activities to complete the job as per drawing and instruction of the in-charge engineer all waste materials and debris are to be transported to the approved damp site. All tasks for this item are to be under the full approval of the charge engineer | M3 | 6.247 |  | 0
A11 | Supply and replacement of Window Wooden Pala "Piece" Prepare all materials, equipment, and manpower for the size 4(1.5 x 0.5)m within glass hinge, lock handle complete all related activities to complete the job as per drawing and instruction of the in-charge engineer All tasks for this item are to be under full approval of in charge engineer | M2 | 3 |  | 0
A12 | Supply and replacement of Door Wooden Pala "Piece" Prepare all materials, equipment, and manpower for the size 2(1 x 2)m and 2( 2 x 1.5)m within glass hinge, lock handle complete all related activities to complete the job as per drawing and instruction of the in-charge engineer All tasks for this item are to be under full approval of in charge engineer | M2 | 10 |  | 0
A13 | Adjusting and fixing windows total 34, wooden doors total 11 Prepare all materials, equipment, and manpower for Adjusting wooden windows total of 34, and wooden doors total 11. with replacing the accessories as needed (hinges, 11 locks, 8.8 m2 broken glasses, chefti 109m) with the best quality. with all related activities to complete the job as per drawing and instruction of the in-charge engineer all waste materials and debris are to be transported to the approved damp site. All tasks for this item are to be under the full approval of in charge engineer | Each | 45 |  | 0
A14 | Interior and exterior Wall 100% Plastic Paint three coats Prepare all materials, equipment, and manpower for the interior Wall 100% Plastic Paint three coats (Jotun or equivalent) including preparation, primer, and filling with all related activities to complete the job as per drawing and instruction of the in-charge engineer All tasks for this item are to be under full approval in charge engineer | M2 | 1079.522 |  | 0
A15 | Oil Painting of doors and windows three coats+black board Prepare all materials, equipment, and manpower for window and door oil paintin with all related activities to complete the job as per drawing and instruction of the in-charge engineer all waste materials and debris are to be transported to the approved damp site. All tasks for this item are to be under the full approval of the charge engineer | M2 | 104.38 |  | 0
A16 | Supply and installation of chimney caps Prepare all materials, equipment, and manpower for chimney caps with all related activities to complete the job as per drawing and instruction of the in-charge engineer all waste materials and debris are to be transported to the approved damp site. All tasks for this item are to be under the full approval of the charge engineer | Pic | 8 |  | 0
A17 | Supply and installation of handrail for ramp with three coats. Prepare all materials, equipment, and manpower for the preparation of 7m length 80cm high with 3icnh dia best quality and Painting of Steel handrails with oil paint on three coats with all related activities to complete the job as per drawing and instruction of the in-charge engineer All tasks for this item to be under full approval in charge engineer | L/M | 7 |  | 0
A18 | Cleaning of the project site from extra soil, grass, and materials Prepare all materials, equipment, and manpower for Cleaning the project site from extra soil, grass, and materials with all related activities to complete the job as per the in-charge engineer all waste materials and debris are to be transported to the approved damp site. All tasks for this item are to be under the full approval of the charge engineer | Job | 1 |  | 0
A19 | Donor Metal Sign Board 120x80cm as per design and drawings | Pic | 1 |  | 0
Total of A1. Civil Works: |  |  |  |  | 0
C - Construction of new latrine (Priority #3)
C- 1 | Excavation of foundation stairs and ramp in Grad 3 land Prepare all materials, equipment, and manpower for excaation of foundation in type 3 land with all related activities to complete the job as per drawing and instruction of the in-charge engineer all waste materials and debris are to be transported to the approved damp site. All tasks for this item are to be under the full approval of the charge engineer | M3 | 23.024 |  | 0
C- 2 | Stone Masonry of foundation & Supper stone masonry with 1:5 mortar Prepare all materials, equipment, and manpower for stone masonry work in foundation and top of the foundtion with cement ratio 1:5 with all related activities to complete the job as per drawing and instruction of the in-charge engineer all waste materials and debris are to be transported to the approved damp site. All tasks for this item are to be under the full approval of the charge engineer | M3 | 51.2 |  | 0
C- 3 | Compacted gravel under PCC floor, ramp and sidewalks Prepare all materials, equipment, and manpower for compacted mixed gravel 70% gravel 25% sand and 5% soil with all related activities to complete the job as per drawing and instruction of the in-charge engineer all waste materials and debris are to be transported to the approved damp site. All tasks for this item are to be under the full approval of the charge engineer Compacted gravel | M3 | 2.7075 |  | 0
C- 4 | PCC 15MPA for floor, Sidewalk, stairs and ramps: Prepare all materials, equipment, and manpower for casting 15 MPA PCC for floors, sidewalk and ramp with formworks and surface preparation with all related activities to complete the job as per drawing and instruction of the in-charge engineer all waste materials and debris are to be transported to the approved damp site. All tasks for this item are to be under the full approval of the charge engineer | M3 | 4.3267 |  | 0
C- 5 | Bricks masonry burnt bricks with 1:5 cement mortar Prepare all materials, equipment, and manpower for burnt brick wall with mortar 1:5 for 35, 25, 15cm wall with formworks and surface preparation with all related activities to complete the job as per drawing and instruction of the in-charge engineer all waste materials and debris are to be transported to the approved damp site. All tasks for this item are to be under the full approval of the charge engineer | M3 | 15.7375 |  | 0
C- 6 | RCC 20MPA for slabs and rings ration 1:1.5:3 Prepare all materials, equipment, and manpower for casting 20 MPA PCC for slabs, and rings including steel bending work, curing, formworks and surface preparation with all related activities to complete the job as per drawing and instruction of the in-charge engineer all waste materials and debris are to be transported to the approved damp site. All tasks for this item are to be under the full approval of the charge engineer | M3 | 7.4946 |  | 0
C- 7 | Plastering of work 1:4 cement and sand, inside and out side of latrine Prepare all materials, equipment, and manpower for plastering 1:4 with 2cm thickness including curing, best surfacing preparation with all related activities to complete the job as per drawing and instruction of the in-charge engineer all waste materials and debris are to be transported to the approved damp site. All tasks for this item are to be under the full approval of the charge engineer | M2 | 146.52 |  | 0
C- 8 | Pointing work with 1:3 mortar (cement and sand) Prepare all materials, equipment, and manpower for pointing 1:3 with 4cm deep point including curing, best surfacing preparation with all related activities to complete the job as per drawing and instruction of the in-charge engineer all waste materials and debris are to be transported to the approved damp site. All tasks for this item are to be under the full approval of the charge engineer | M2 | 109.34 |  | 0
C- 9 | Roofing work Prepare all materials, equipment, and manpower for roofing work including 10cm peice of bricks for making slope, PCC M150 with 5cm thickness and one layer isogam and two douwspouts with 3m length and 8x10cm dia with all related activities to complete the job as per drawing and instruction of the in-charge engineer all waste materials and debris are to be transported to the approved damp site. All tasks for this item are to be under the full approval of the charge engineer | M2 | 25.315 |  | 0
C- 10 | Plastic Paint three coats with Primer exterior wall and interior 100% Prepare all materials, equipment, and manpower for the preparation of wall surfaces with Primer and filling and Paint the interior and exterior wall with 100% plastic paint with all related activities to complete the job as per drawing and instruction of the in-charge engineer All tasks for this item are to be under full approval in charge engineer | M2 | 146.52 |  | 0
C- 11 | Supply and installation of handrail for ramp with three coats. Prepare all materials, equipment, and manpower for the preparation of 7m length 80cm high and Painting of Steel handrails with oil paint on three coats with all related activities to complete the job as per drawing and instruction of the in-charge engineer All tasks for this item to be under full approval in charge engineer | L/M | 7 |  | 0
C- 12 | Supply and installation of metal doors and windows with including painting of Steel frame and peices with oil paint three coats. Prepare all materials, equipment, and manpower for the preparation of doors and window surfaces and Oil Painting of Steel frames and pieces with oil paint on three coats with all related activities to complete the job as per drawing and instruction of the in-charge engineer All tasks for this item to be under full approval in charge engineer | M2 | 14.43 |  | 0
C- 13 | Back filling | M3 | 5.525 |  | 0
Sub Total for latrine |  |  |  |  | 0
Grand Total (A+C) |  |  |  |  | 0